## Slide 1: LC-ICPMS-ESIMS Feature detection
LC_ICPMS_ESIMS_isotopes_pattern_search_v2_2.R
Updated 1/13/2022 (R. Boiteau

## Slide 2: Requirements:
Download and install:
R: https://www.r-project.org/
R studio: https://rstudio.com/
In R, install XCMS package: https://bioconductor.org/packages/release/bioc/html/xcms.html

## Slide 3: (1) Create folder with function files, isotope pattern files, and data files
ICPMS data requires these headers (default export from Qtegra), or the ‘ICPread’ function of the script must be modified.

## Slide 4: (1) Create folder with function files, isotope pattern files, and data files
Convert .RAW files from orbitrap to mzML files with MSConvert
http://proteowizard.sourceforge.net/tools.shtml

## Slide 5: (1) Create folder with function files, isotope pattern files, and data files
Isotope pattern file format (.csv file)
Isotope: Must have at least two rows
Masses: Algorithm uses differences between each row
Relative abundance: Algorithm uses ratio between each row
Mass tolerance #: Peak pairs will be picked if Δm/z is within a window ± this # (first row isn’t used)
Ratio tolerance #: Peak pairs will be picked if Light/Heavy is within a factor of this # (first row isn’t used)
Required?: ‘Y’ if used to pick peaks, ‘N’ if only plotted, ‘O’ if adduct.

## Slide 6: (2) Open template file in R-Studio

## Slide 7: (3) Edit parameters and file names

## Slide 8: (4) Press ‘source’ to run program

## Slide 9: (5) Program generates report pdf

## Slide 10: Report format: global QC
For every MS feature that matches the pattern,
An r2 value is calculated across time
r2 min cutoff
Slope cutoffs
Slope (ratio of light/heavy isotopes normalized to expected value)
Gray = all pattern-matched features detected
Black = maximum intensity features after binning
Red = validated features after r2 and slope cutoff
Blue = True metal isotope patterns.

## Slide 11: Report format: Validated features
ICPMS chromatogram with detected peak maxima
EIC of validated features, with intensities scaled to
overlap relative abundances
MS of retention time corresponding to maximum peak
Red lines = true data, gray bar = expected pattern
EIC of optional forms